TECHNICAL DATA

Digital Signal Processing, DSP

Built in omnidirectional electret microphone and zoom microphone

10 channel dynamic range compressor

10 channel dynamic noise suppression

Adaptive feedback manager

Intuitive user interface

LED lightbar for excellent readability

9 step volume control (5 dB/step)

9 step tone control

Clear indication of Volume, Tone, Mic and T mode

Low battery warning indicator

Telecoil pickup for inductive loops

Push-to-listen mode (Int. mic and Aux in mixed)

Auxiliary stereo signal input (2.5 mm telejack)

Headphones stereo output (3.5 mm telejack)

Auto mute when switching between signal sources

High gloss finish to minimize handling sound

Requires no individual fitting

Built-in rechargeable lithium-ion battery

Universal charger with included mains plug

BE9135 Neck strap with safety clasp included

Polished stainless steel belt clip included

Technical Details

Power Supply
Battery power: Built-in lithium-ion battery , 3,7V 618 mAh, type McNair MCP413048

Operating time, fully charged: 18 hours (standard battery)

Charging time: 2.5 hours (standard battery)

Input Signals
Microphone: Built-in electric condenser microphones (omnidirectional or directional)

Line input: 2.5 mm stereo jack plug, sensitivity 0 dBV (maximum input signal) Automatic selection between line input and external microphone

Telecoil: Angled at 45 degrees for optimal function horizontally and vertically

Output Signals
Headphone socket: 3.5 mm stereo jack plug

Output power headphone socket: 100 mW at 16 ohm load

Distortion: BE9122 Headphones BE9124 In-ear phones, 0.6 percent THD, 0.08 percent THD

Dynamic range: 90 dB SNR (electrical)

Frequency range: 40 to 10,000 Hz (electrical)

Max. output level, saturation:
BE9122 Headphones: 124.3 dB SPL (at 2.5 kHz)

BE9124 In-ear phones: 132.0 dB SPL (at 5 kHz)

BE9125 Stetoclip: 133.7 dB SPL (at 1 kHz)

Amplification, full volume(1 kHz, 60 dB SPL input signal):

BE9122 Headphones: 42.5 dB

BE9124 In-ear phones: 55.0 dB

BE9125 Stetoclip: 58.2 dB

Amplification, full volume (60 dB SPL input signal, HFA):

BE9122 Headphones: 46.5 dB

BE9124 In-ear phones: 51.5 dB

BE9125 Stetoclip: 52.0 dB

Environmental Requirements
Operating temperature: 32 to 95 degrees F (0 to 35 degrees C)

Relative humidity: 5 to 95 percent (non condensing)

Properties
Volume control: 9 increments of 5 dB

Tone control: ± 10 dB in 9 increments, cut-off frequency 1.6 kHz

On/Off button: Clear, countersunk pushbutton

Microphone and T position: Separate pushbuttons

Combined sound sources: For mixing external sound and sound from the internal microphone

Balance control (right/left): 0 to 20 dB programmable reduction in increments of 5 dB

Setting for max. volume: 0 to 21 dB programmable reduction in increments of 3 dB

Bass Reduction setting: Lowering of frequencies under 400 Hz by 10 dB

Dynamic compressor:
10 channels

Dynamic amplification 0 to 35 dB

Compression 3:1

Expansion 1:1.5

Attack time 20 ms < 3kHz, 25 ms ≥3kHz

Recovery time 110 ms < 3kHz, 200 ms ≥3kHz

Dynamic noise reduction: 10 channel adaptive noise reduction

Feedback handling: Adaptive feedback reduction

Digital signal processing: 22,050 kHz sampling frequency, 16-bit resolution in stereo

External dimensions: 99 x 48 x 22 mm

Weight: 75 grams

Color: Grey with white front panel and silver-colored buttons.

