SN-600N

Enteral Nutrition Pump

# Transparent pump door, visible infusion

process

## Convenient

Safe

Transparent pump door;

The cam can be detached for clean

Status light on top,

flow rate can be calibrated, waterproof outlet

## Compact

Intelligent

Elegant streamline design, weight only 1.3kg

Bionic intermittent output, wireless communication, adjustable alarm sounds

Sino Medical-Device Technology Co., Ltd. Build Quality, Build Reliability

SN-600N Enteral Nutrition Pump

Specifications:

Function:

Class I , type CF

Electric shock protection class

146 mm (width)X199.5mm (height)X114mm (depth)

Dimension

IPX4

Water proof level

Ambient Temperature: ±5o C ~ ±40o C relative humidity 20% ~ 90%, Ambient pressure: 76.0kPa ~ 106.0kPa

Operation condition

11 VA

Power consumption

The device can work for more than 5 hours at the rate of 25ml/h after full charge. It takes 10 hours for fully charge with the device shut down

Battery endurance

1.3kg (including the clamp base)

Weight

AC 100V-240V, 50HZ / 60HZ

Power supply

12V NiH 800mAh

Inner battery

1500pcs

History recording

Key tone can be set to mute, the volume has 3 levels

Keypad sound

3 levels

Alarm volume

500±2 00mmHg

Occlusion accuracy

This unique design can adjust the flow accuracy automatically for nutrition solution with different viscosity

Automatic calibration

3 levels: 200 ml/h, 400 ml/h, 600 ml/h (adjustable)

Bolus rate

±5%

Accuracy

1 ml~9999 ml

Display range of totally delivered volume

0 ml~9999 ml

Preset Volume

1 ml/h~600 ml/h

Flow Rate

parameter

Items

| DUAL-CPU monitoring function | USB connector | 1500 history records |
| --- | --- | --- |
| Adjust the flow accuracy by the way of volume calibration | Water proof design for the whole device | Infusion status light can be on/off |
| Detection of dripping number | Abundant optic and sound alarm | Infusion set flushing function |
| Key lock function | The key tone can be set to mute | Bionic intermittent output |
| Power supply status | System time setting |  |

V1.1